| DRAFT TABLE 2 – CATEGORIZATION OF APPLICABLE COMPONENTS July 14, 2023 |  |  |  |
| --- | --- | --- | --- |
| Applicable Project | Applicable Project Component | Manufactured Product Component | Categorization |
| Hydropower Facility, or Pumped Hydropower Storage Facility | Manufactured Products associated with Reservoir (Upper/Lower) | Spillway Gates, Cranes, Hoists and Operating equipment; | Manufactured Product |
|  | Water Conveyance | Isolation valves, gates (including Draft Tube gates) and bulkheads, debris removal systems, Cranes, Hoists, and operating equipment | Manufactured Product |
|  |  | Intake and Discharge structures, trash racks, penstocks, concrete and steel lined tunnels, (high pressure and low pressure) and reinforcing bar | Steel and Iron |
|  | Hydroelectric Unit | Turbine / Pump Turbine System Motor/Generator System Power Train Components AC and DC Excitation Systems and static frequency converters. | Manufactured Product |
|  | Powerhouse Structure (including foundation) | All structural steel and reinforcing bar to receive and support equipment loadings (does not include manufactured product embedments) | Steel and Iron |
|  | Mechanical Balance of Plant Auxiliary Systems | Mechanical Auxiliary equipment including Cranes, Air, Water and Oil Systems including pumps, valves | Manufactured Product |
|  | Electrical Balance of Plant Auxiliary Systems | Electrical Auxiliary Equipment including Power, controls, circuit breakers, instrumentation, | Manufactured Product |
|  | Governor/Speed Controls | Governor System including controls and oil system | Manufactured Product |
|  | High Voltage Switchyard and Interconnection- Power Equipment | Generator Step-Up Transformers, High voltage circuit breakers, | Manufactured Product |
|  | High Voltage Switchyard and Transmission Interconnection – Structural | Steel and Iron for the Switchyard and transmission interconnection structures and foundations | Steel and Iron |
|  | Turbine Shut Off Valve | Isolation Valve System (including Isolation Valve, Penstock Flanges, Hydraulic Pumping System & Accumulators, Spherical Isolation Valve Control System, Bypass Piping and Components | Manufactured Product |